## Sheet1
MOCNESS Calibration - Rough Calculations
Horizontal Distance Towed (m) | Flow Count | M/turn | Average
999 | 270 | 3.7 | 3.484 | CORRECTION FOR NEW CALIBRATION | New Cal/Old Cal | 3.48/2.21=1.57
1000 | 306 | 3.268

## Sheet2
Volume Filtered on Program | Corrected Volume Filtered
25 | 39.25
50 | 78.5
75 | 117.75
100 | 157
200 | 314
300 | 471
400 | 628
Calibration: 3.48 m/turn